## Slide 1: QubiC: An open-source FPGA-based control and measurement system for superconducting quantum information processors Yilun Xu et al.
Presented By,
Syed Emad Uddin Shubha
CS Grad Student, LSU

## Slide 2: Introduction to QubiC
Scalable control for superconducting quantum processors.
Limits of AWG/DAQ in NISQ scaling.
QubiC: Open-source, FPGA-based control & measurement system.
  Modular design across hardware, gateware, and software.
  Supports pulse-level control and feedback.
  Full-stack access for co-design and optimization.

## Slide 3: QubiC System Architecture
Hardware:
Xilinx VC707 FPGA + FMC120 DAC/ADC (1 GSPS).
Custom RF mixer (2.5–8.5 GHz) with 27 dBc image rejection.
LO module (Wenzel + LMX2595): ~1 ps jitter, compact & low-cost.
Hardware: FPGA + DAC/ADC + RF mixer + oscillator + connectors to cryostat
Gateware: Verilog DSP code running in the FPGA handles waveform generation, routing, signal processing
Software: Python API, GUI, compilers (OPTM/RUNC), integration with circuit-level tools

## Slide 4: Gateware DSP Architecture
Digital modulation via Processing Elements (CORDIC-based).
Real-time waveform generation and phase injection.
acc/acq buffers for IQ integration and raw data capture.
Host Interface & Compilation:
  128-bit commands: timing, freq, phase, DAC routing, etc.
  3-Step compilation: Scheduler → TP Pairs → NV Pairs.
  Supports both calibration (OPTM) and execution (RUNC).
  *UC= to qubit, *DC=meas.
  Command Buffer: Central controller, where all pulse definitions are stored.
  Envelope Buffers: Store I/Q waveform data.
  acc/acq Buffers: Store processed results for measurement & debugging.

## Slide 5: Waveform Generation & Verification
DRAG pulse envelope using Python NumPy functions.
Real/Imaginary mapping to I/Q DAC channels.
Loop-back validation via ADC shows correct waveform.

## Slide 6: Conclusion & Impact
QubiC enables efficient pulse-level quantum control.
It was validated on an 8-qubit superconducting chip.
It demonstrated high gate fidelity and advanced error mitigation techniques like randomized compiling.
Open-source platform for research and development.
Ready for advanced algorithms like RC, QCVV, feedback.